# Hazard Specific Inspection Checklist

Inspection Team: Business Unit: Location/Areas Inspected: Date of Inspection:

| Item # | Requirement | Yes | No | N/A | Observation | Actions |
| --- | --- | --- | --- | --- | --- | --- |
| Section 1: Chemical Management |  |  |  |  |  |  |
| Are there chemical hazards present? If no, skip to section 2. |  |  |  |  |  |  |
| 1.1 Chemical storage and waste |  |  |  |  |  |  |
|  | Are the following posters displayed and are in-date? - Dangerous Goods and Combustible Liquids Segregation Chart - Chemical Storage poster - Chemical Waste Management poster |  |  |  |  |  |
|  | Are chemicals being stored according to the above requirements for segregation and maximum holdings? |  |  |  |  |  |
|  | Are Dangerous Goods cabinets in good condition, doors self-close and bunds are free of chemical containers? |  |  |  |  |  |
|  | Are containers of decanted chemicals or chemical mixtures appropriately labelled? |  |  |  |  |  |
|  | Are chemical waste containers labelled, stored appropriately and disposed of regularly via appropriate chemical waste streams? |  |  |  |  |  |
|  | Are empty chemical containers clean and any labels removed or defaced? |  |  |  |  |  |
|  | Are all hazardous chemicals recorded in the local manifest in Chemwatch? |  |  |  |  |  |
| 1.2 Safety provisions for use of chemicals |  |  |  |  |  |  |
|  | Are fume cupboards tidy and have they been serviced within the last 12 months? |  |  |  |  |  |
|  | Are chemicals being put away after use and are not stored in the fume cupboards? |  |  |  |  |  |
|  | Is appropriate equipment available for the safe transport of chemicals and chemical waste (e.g. trolleys, carrier baskets)? |  |  |  |  |  |
|  | Is appropriate PPE available for the types of chemicals present, and is it being used correctly? |  |  |  |  |  |
|  | Are chemical spill kits suitable for the types of chemicals and volumes present and are fully stocked? |  |  |  |  |  |
|  | Are any unattended chemical reactions clearly signed? |  |  |  |  |  |
| Section 1.3: Chemical Management – Gases |  |  |  |  |  |  |
| Are there compressed gases or cryogens in use? If no, skip to section 1.5 |  |  |  |  |  |  |
| 1.3.1 General requirements for gases |  |  |  |  |  |  |
|  | Is the Gas Storage and Segregation poster displayed and is in-date? |  |  |  |  |  |
|  | Are gas lines and connections clearly labelled and are in good condition? |  |  |  |  |  |
|  | Are areas where gases and cryogens used and stored adequately ventilated? |  |  |  |  |  |
|  | Are appropriate gas, oxygen or LEL sensors and alarm systems present, calibrated in the last 6 months, and an emergency response plan displayed in the area? |  |  |  |  |  |
| 1.3.2: Gas Cylinders |  |  |  |  |  |  |
| Are there gas cylinders in use? If no, skip to section 1.4 |  |  |  |  |  |  |
|  | Are gas cylinders easily accessible and appropriately segregated from combustible materials (as applicable)? |  |  |  |  |  |
|  | Are gas cylinders stored according to the quantities outlined in the poster above, and are cylinders in-date (check tag)? |  |  |  |  |  |
|  | Are gas cylinders stored according to class compatibility? |  |  |  |  |  |
|  | Are empty gas cylinders clearly marked, separated from full and are removed in a timely manner? |  |  |  |  |  |
|  | Are gas cylinders in use, i.e. connected to equipment or a manifold? |  |  |  |  |  |
|  | Are appropriate regulators and gas lines connections used and are in good condition? |  |  |  |  |  |
|  | Are gas cylinders secured at approximately two-thirds height to avoid tippling? |  |  |  |  |  |
|  | Is a gas cylinder trolley available for transporting cylinders, and in good condition (if required)? |  |  |  |  |  |
| Section 1.4: Chemical Management – Liquid Nitrogen |  |  |  |  |  |  |
|  | Is there liquid nitrogen in use? If no, skip to section 1.5 |  |  |  |  |  |
|  | Are liquid nitrogen storage and dispensing tanks in good condition and serviced regularly (if required)? |  |  |  |  |  |
|  | Are all containers used to transport liquid nitrogen appropriate cryogenic dewars, and are in good condition? |  |  |  |  |  |
|  | Are trolleys and wheeled bases used to transport liquid nitrogen vessels in good condition? |  |  |  |  |  |
|  | Is appropriate PPE available for use of liquid nitrogen (cryogenic gloves, apron and face shield) and is PPE in good condition? |  |  |  |  |  |
| Section 1.5: Chemical Management – Scheduled Poisons |  |  |  |  |  |  |
| Are there Scheduled Drugs and Poisons in use? If no, skip to section 1.6 |  |  |  |  |  |  |
|  | Is the Purchase and Storage of Scheduled Poisons poster displayed where scheduled poisons are used and stored? |  |  |  |  |  |
|  | Is access restricted to areas where Scheduled drugs and poisons are kept? |  |  |  |  |  |
|  | Are High Risk Drugs and Poisons (Schedules 4D, 8 and 9) stored in dedicated safes? |  |  |  |  |  |
|  | Are other scheduled poisons kept in a locked storage facility that cannot be easily removed from premises? |  |  |  |  |  |
|  | Are the log books for transactions being kept and are accurate? |  |  |  |  |  |
| Section 1.6: Chemical Management – Cytotoxic Drugs |  |  |  |  |  |  |
| Are there Scheduled Drugs and Poisons in use? If no, skip to section 2 |  |  |  |  |  |  |
|  | Are cytotoxic sharps waste and cytotoxic soft waste containers available and disposed of regularly? |  |  |  |  |  |
| Section 2: Biological Management |  |  |  |  |  |  |
| Are there biological hazards present? If no, skip to section 3. |  |  |  |  |  |  |
|  | Are biosafety cabinets and laminar flow hoods clean, free of clutter, and serviced in the last 12 months? |  |  |  |  |  |
|  | Are centrifuges clean and well maintained and do they have aerosol-containment (e.g. sealed rotor, or sufficient numbers of bucket lids)? |  |  |  |  |  |
|  | Are autoclaves well-maintained, including having in-tact seals, correct water levels, and have they been serviced regularly (if required)? |  |  |  |  |  |
|  | Are biological samples appropriately contained to prevent spills (e.g. in tubes, and secondary containers for transport), and are samples labelled appropriately? |  |  |  |  |  |
|  | Is disinfectant hand soap or other hand sanitiser available for hand hygiene? |  |  |  |  |  |
|  | Are disinfectants available for cleaning/decontamination, correctly labelled and in-date? |  |  |  |  |  |
|  | Is biological waste correctly segregated into sharps waste and soft waste, and soft waste is double-bagged? |  |  |  |  |  |
|  | Are waste bins being regularly emptied and are not overfilled? |  |  |  |  |  |
|  | Is a biological spill procedure displayed and up-to-date? |  |  |  |  |  |
|  | Are biological spill kits available and fully stocked (if applicable)? |  |  |  |  |  |
| Section 3: Radiation Management |  |  |  |  |  |  |
| Are there radiation hazards present? If no, skip to section 4. |  |  |  |  |  |  |
| 3.1: Radiation Management – General Requirements |  |  |  |  |  |  |
|  | Is appropriate signage in place in areas undertaking radiation work (e.g. door signs)? |  |  |  |  |  |
|  | Are personal dosimeters in use and are changed over regularly (if applicable)? |  |  |  |  |  |
| 3.2: Radiation Management –Sealed sources and X-rays |  |  |  |  |  |  |
| Are there sealed radiation sources and/or X-rays in use? If no, skip to section 3.3 |  |  |  |  |  |  |
|  | Are servicing, maintenance and calibration logs for radiation apparatus in place and up-to-date? |  |  |  |  |  |
|  | Is ionising equipment contained in appropriate enclosures and enclosures have interlocks? |  |  |  |  |  |
|  | Are visible or audible warning signals provided inside and outside areas to warn before and during irradiation? |  |  |  |  |  |
| 3.3: Radiation Management –Radioisotopes |  |  |  |  |  |  |
| Are there radioisotopes in use? If no, skip to section 3.4 |  |  |  |  |  |  |
|  | Are hot labs and facilities for handling radioisotopes (e.g. fume cupboards) labelled with the trefoil symbol? |  |  |  |  |  |
|  | Are stocks of radioisotopes stored securely? |  |  |  |  |  |
|  | Are radioisotopes containers clearly labelled? |  |  |  |  |  |
|  | Is shielding equipment (e.g. perspex shields) in place (if required)? |  |  |  |  |  |
|  | Is a radioisotope spill procedure displayed and in-date? |  |  |  |  |  |
|  | Are spill trays and absorbent bench liners available? |  |  |  |  |  |
|  | Is a radioisotope spill kit available and fully stocked? |  |  |  |  |  |
|  | Are contamination monitors (e.g. Geiger counters) working correctly, calibrated, and a calibration log kept? |  |  |  |  |  |
|  | Is radioisotope waste labelled, stored appropriately and disposed of in a timely manner? |  |  |  |  |  |
| 3.4: Radiation Management –UV radiation sources |  |  |  |  |  |  |
| Are there UV radiation sources present? If no, skip to section 4 |  |  |  |  |  |  |
|  | Is UV shielding in place and in good condition? |  |  |  |  |  |
|  | Are interlocks in place and are being maintained? |  |  |  |  |  |
|  | Is appropriate PPE is available (e.g. skin and eye protection) and in good condition? |  |  |  |  |  |
| Section 4: Machinery, equipment, plant & lasers – General Requirements |  |  |  |  |  |  |
|  | Are equipment servicing, maintenance and/or use logs up-to-date? |  |  |  |  |  |
|  | Is safety signage in place to inform about any specific hazards present? |  |  |  |  |  |
|  | Is electrical equipment placed away from water sources? |  |  |  |  |  |
|  | Are cords, plugs and power points in good condition? |  |  |  |  |  |
|  | Is electrical testing & tagging within date? |  |  |  |  |  |
| 4.1 Machinery and Plant |  |  |  |  |  |  |
| Is there machinery and/or plant in use? If no, skip to section 4.2 |  |  |  |  |  |  |
|  | Does machinery have appropriate guarding and/or interlocks in place? |  |  |  |  |  |
|  | Is there sufficient clearance around the work area where the equipment is used, access is restricted and/or barriers are placed around it (as appropriate)? |  |  |  |  |  |
|  | Are emergency stops/isolation switches available and are in good working conditon? |  |  |  |  |  |
|  | Is specific PPE available for the work being conducted (e.g. dust masks, eye protection, hand protection)? |  |  |  |  |  |
| 4.2 Temperature Controlled Rooms |  |  |  |  |  |  |
| Are there temperature controlled rooms present (e.g. walk-in cold rooms, walk-in freezers, walk-in warm rooms)? If no, skip to section 4.3 |  |  |  |  |  |  |
|  | Are rooms regularly maintained and are in good condition? |  |  |  |  |  |
|  | Are all lights working? |  |  |  |  |  |
|  | Are emergency door release mechanism and/or alarm systems in good working condition? |  |  |  |  |  |
| 4.3 Class 3 or 4 lasers |  |  |  |  |  |  |
| Are Class 3 or 4 lasers in use? |  |  |  |  |  |  |
|  | Are warning signs and symbols clearly displayed on equipment? |  |  |  |  |  |
|  | Is wavelength-specific eye protection available for the operators? |  |  |  |  |  |
|  | Is protective housing in place and is access to the beam restricted? |  |  |  |  |  |
|  | Are interlocks, master switch / beam stops or other fail-safe devices in place where panels of protective housing are intended to be removed? |  |  |  |  |  |